## Sheet1
KEBUTUHAN PLAN TERM 84 ELECTRICAL (JULI 2024- JUNI 2025)
NO | PART NO | PART NAME | DETAIL PART | UOM | HARGA
1 | ALT001 | ALAT LISTRIK | KIPAS ANGIN WALLFAN 30 INCH | PCS
2 | ALT043 | ALAT LISTRIK | KIPAS ANGIN CEILING FAN 56 INCH | UNIT
3 | ALT028 | KONTAKTOR | KONTAKTOR FUJI ELEKTRIC SC-4-1 32A | PCS
4 | ALT029 | KONTAKTOR | KONTAKTOR FUJI ELEKTRIC SC-N2 32A | PCS
5 | ALT031 | AHU | THERMAL OVERLOAD FUJI ELEKTRIC TK26 22A | PCS
6 | ALT033 | AHU | THERMAL OVERLOAD MITSUBISHI ELEKTRIC TH -T18 | PCS
7 | ALT032 | AHU | THERMAL OVERLOAD FUJI ELEKTRIC TR - N2/3 | PCS
8 | ALT037 | AHU | BEARING MOTOR FAN AHU NACHI 62320ZECM | UNIT
9 | ALT030 | KONTAKTOR | KONTAKTOR MITSUBISHI ELEKTRIC TH-T18 | PCS
10 | ALT023 | ALAT BANTU KERJA | BOR LISTRIK BETON 3 FUNGSI ROTARY HAMMER BOSCH GBH 220 | PCS
11 | ALT004 | ALAT LISTRIK | SAKLAR DINDING 4 TOMBOL CLIPSAL / SCHNEIDER | PCS
12 | ALT020 | ALAT LISTRIK | SAKLAR DINDING 2 TOMBOL CLIPSAL / SCHNEIDER | PCS
13 | ALT011 | ALAT LISTRIK | DUCTING TC 6 | PCS
14 | ALT050 | ALAT BANTU KERJA | MESIN BOR BOSCH BATERAI GSB 185 18V CHUCK 13MM | PCS
15 | ALT045 | ALAT BANTU KERJA | IMPACT DRILL BOSCH GSB 16 RE 16MM | PCS
16 | ALT058 | ALAT BANTU KERJA | SCREW BATERAI 12 VOLT MAKITA DF331 INCLUDE MATABOR 60PCS | SET
17 | ALT055 | MOBIL TRAINING | JASA MODIFIKASI FISIK MOBIL TRAINING | LOT
18 | ALT054 | MOBIL TRAINING | MATERIAL MODIFIKASI FISIK MOBIL TRAINING | LOT
19 | ALT048 | ALAT BANTU KERJA | MESIN BOR LISTRIK TANPA KABEL 18 V LI-ION INCLUDE CHARGER (CORDLESS IMPACT DRILL) | PCS
20 | ALT044 | ALAT BANTU KERJA | KW0101962 KUNCI INGGRIS 6 INCH KRISBOW | PCS
21 | ALT022 | ALAT BANTU KERJA | KUNCI INGGRIS 4 INCH TEKIRO | PCS
22 | ELC609 | ALAT LISTRIK | OB DOS + SAKLAR ENGKEL PANASONIC | SET
23 | ELC621 | PILOT LAMP | PILOT LAMP INDIKATOR + VOLMETER MERK FORT AD116-22DSVB (24V-500V) | PCS
24 | elc397 | STOP KONTAK | STOP KONTAK 1 PHASA isi 2 MERK BROCO | PCS
25 | ELC453 | FITTING | FITTING SELANG Y 12 WIPRO | PCS
26 | ELC396 | STOP KONTAK | STOP KONTAK 1 PHASA ( isi 3 ) keramik | PCS
27 | ELC062 | INSULOCK | INSULOCK CABLE TIE NYLON KSS (CV - 310) | PAK
28 | ELC553 | PELINDUNG KABEL SPIRAL | KSS SPIRAL WRAPPING BAND KS-15 | PAK
29 | elc586 | THERMO CLIP | THERMO CLIP | PACK
30 | ELC111 | DUCTING | DUCTING 45 X 45 MM GREY | PCS
31 | ELC112 | DUCTING | DUCTING 45 X 45 MM WHITE | PCS
32 | ELC014 | KABEL | KABEL NYA 6MM HIJAU KUNING SUPREME | METER
33 | ELC011 | KABEL | KABEL NYM 3X2.5MM SUPREME | METER
34 | ELC393 | ALAT LISTRIK | Outbow Box putih ( CLIPSAL ) | PCS
35 | ELC605 | ELEKTRICKAL | MCB 1 PHASA 25 A TYPE DOMAE SCHNEIDER | PCS
36 | ELC658 | ALAT LISTRIK | KAP TL WATTERPROOF 1 x 120mm PHILCO ISI 1 | PCS
37 | ELC657 | KONTAKTOR | KONTAKTOR LC1D25M7 KOIL 220V SCHNEIDER | PCS
38 | ELC656 | ELEKTRICKAL | TIMER AUTONICS AT8N PLUS SOCKET 220 VAC | PCS
39 | ELC547 | ELEKTRICKAL | MCB 3 PHASA 20 A | PCS
40 | ELC033 | KABEL | KABEL NYMHY 2X1.5MM SUPREME | METER
41 | ELC015 | KABEL | KABEL NYMHY 3X2.5MM SUPREME | METER
42 | ELC455 | FITTING | FITTING LAMPU BOHLAM (FITTING GANTUNG E27) | PCS
43 | ELC386 | ALAT LISTRIK | SAKLAR DINDING 2 TOMBOL INBOW MERK BROCO | PCS
44 | ELC647 | SAKLAR | SAKLAR ENGKEL TUNGGAL BROCO WATERPROOF TYPE ATLANTIC | PCS
45 | ELC648 | STOP KONTAK | STOP KONTAK BROCO WATERPROOF IP44 | PCS
46 | ELC305 | PUSH BUTTON | PUSH BUTTON LAMP 25MM MERK HANYOUNG | PCS
47 | ELC492 | MCB | MCB 1 PHASA 16 A | PCS
48 | ELC009 | ELEKTRICKAL | MCB 3 PHASA 32A TYPE DOMAE SCHNEIDER | PCS
49 | ELC041 | KABEL | KABEL NYY 3X2.5MM SUPREME | METER
50 | ELC038 | ELEKTRICKAL | ELEKTRICKAL KLEM 12MM | PAK
51 | ELC037 | ELEKTRICKAL | ELEKTRICKAL KLEM 10MM | PAK
52 | ELC627 | DUCTING | DUCTING PM ELECTRIC TB-6 PUMA GREY | PCS
53 | ELC626 | KABEL | KABEL NYMHY 3X1.5MM SUPREME | METER
54 | ELC601 | LAMPU | LAMPU BULB LED 6 WATT PHILIPS | PCS
55 | ELC622 | LAMPU | LAMPU DOWNLIGHT ERIDANI DL190B LED 11 D150 14W 65K | PCS
56 | ELC401 | KABEL | NYM 3X2.5 SUPREME | MTR
57 | ELC402 | KABEL | NYMHY 3X2.5MM | MTR
58 | ELC066 | STOP KONTAK | STOP KONTAK 3 PHASA FEMALE 555259 P17 TEMPRA PRO SURF 32A LEGRAND | PCS
59 | ELC302 | KONTAKTOR | KONTAKTOR LC1D09M7 KOIL 220V SCHNEIDER | PCS
60 | ELC423 | ELEKTRICKAL | MCB 1 PHASA 20A TYPE DOMAE SCHNEIDER | PCS
61 | ELC618 | LAMPU | LAMPU LED DOWNLIGHT 9 WATT TYPE MESON PROMO PACK ISI 3 | PAK
62 | ELC017 | ELEKTRICKAL | STEKER BROCO | PCS
63 | ELC406 | KABEL | KABEL NYAF KUNING HIJAU 6MM JEMBO | MTR
64 | ELC012 | KABEL | KABEL NYY 4X4MM SUPREME | METER
65 | ELC510 | ELEKTRICKAL | TIMER THEBEN SUL 181D | PCS
66 | ELC424 | ELEKTRICKAL | MCB 1 PHASA 10A TYPE DOMAE SCHNEIDER | PCS
67 | ELC058 | SAKLAR | SAKLAR TARIK KIPAS | PCS
68 | ELC562 | DUCTING | DUCTING 32 X 32 MM WHITE | PCS
69 | ELC548 | ELEKTRICKAL | MCB 3 PHASA 16 A | PCS
70 | ELC629 | LAMPU | LAMPU BOHLAM LED EMERGENCY PHILIPS 7,5 WATT | PCS
71 | ELC047 | KABEL | KABEL NYAF 6MM JEMBO | METER
72 | ELC008 | ELEKTRICKAL | STOP KONTAK ISI 3 MERK UTICON | PCS
73 | ELC378 | ELEKTRICKAL | SAKLAR DINDING 1 TOMBOL CLIPSAL / SCHNEIDER | PCS
74 | ELC651 | ELEKTRICKAL | TIMER FORT TP8A16 | PCS
75 | ELC300 | ELEKTRICKAL | SELECTOR SWITCH 25MM MERK HANYOUNG | PCS
76 | ELC653 | KABEL | KABEL NYAF 6 MM JEMBO | METER
77 | ELC430 | ELEKTRICKAL | BLOCK TERMINAL 16mm 30A | PCS
78 | ELC493 | ELEKTRICKAL | BLOCK TERMINAL 10mm | PCS
79 | ELC110 | DUCTING | DUCTING 32 X 32 MM GREY | PCS
80 | ELC514 | KONTAKTOR | KONTAKTOR LC1D95M7 KOIL 220V SCHNEIDER | PCS
81 | ELC513 | KONTAKTOR | KONTAKTOR LC1D80M7 KOIL 220V SCHNEIDER | PCS
82 | ELC512 | KONTAKTOR | KONTAKTOR LC1D150M7 KOIL 220V SCHNEIDER | PCS
83 | ELC644 | LAMPU | LAMPU DOWNLIGHT ERIDANI DL190B LED 11 D150 14W 3000K | PCS
84 | ELC628 | STOP KONTAK | STOP KONTAK CLIPSAL S CLASSIC E426_16S | PCS
85 | ELC630 | LAMPU | LAMPU BOHLAM LED EMERGENCY PHILIPS 9 WATT | PCS
86 | ELC624 | STOP KONTAK | STOP KONTAK ISI 1 LUBANG UTICON OUTBOW | PCS
87 | ELC617 | LAMPU | LAMPU LED DOWNLIGHT 9 WATT TYPE MESON | PCS
88 | ELC615 | DUCTING | DUCTING TB4 PM PUTIH | PCS
89 | ELC061 | ELEKTRICKAL | MOUNTING 2X2 MM MERK FORT | PAK
90 | ELC060 | ELEKTRICKAL | MOUNTING 3X3 MM MERK FORT | PAK
91 | ELC065 | STOP KONTAK | STOP KONTAK 3 PHASA MALE 555239 P17 TEMPRA PRO PLUG 32A LEGRAND | PCS
92 | ELC610 | NFB | BREAKER NSX250N 3P 250A | PCS
93 | ELC395 | STOP KONTAK | STOP KONTAK 1 PHASA isi 1 MERK BROCO | PCS
94 | ELC388 | ALAT LISTRIK | SAKLAR DINDING 2 TOMBOL | PCS
95 | ELC027 | ELEKTRICKAL | MCB 1 PHASE 32A TYPE DOMAE SCHNEIDER | PCS
96 | ELC525 | NFB | NFB 3P 400A TYPE EZC400N SCHNEIDER | PCS
97 | ELC524 | NFB | NFB 3P 100A TYPE CVS100F LV510337 SCHNEIDER | PCS
98 | ELC523 | NFB | NFB 3P 160A TYPE CVS160B LV516303 SCHNEIDER | PCS
99 | ELC414 | LAMPU | LAMPU LED BOHLAM 30 W | PCS
100 | ELC578 | DUCTING | PVC DUCTING 45X45MM PUTIH TANPA LUBANG DOUBLE LOCK | PCS
101 | ELC022 | ELEKTRICKAL | LASDOP KUNING 4MM | PCS
102 | ELC021 | ELEKTRICKAL | LASDOP MERAH 6MM | PCS
103 | ELC473 | DUCTING | DUCTING PM ELECTRIC TC 6 | PCS
104 | ELC611 | DOUBLE PUSH BUTTON | CHINT NP2 EW8465 LED DOUBLE HEADED BUTTON 1no 1nc | PCS
105 | ELC420 | LAMPU | LAMPU TOMBOL PANEL | PCS
106 | ELC649 | PHOTOCELL | PHOTOCELL CONTROLS AC/DC 12V 10A | PCS
107 | ELC614 | DUCTING | DUCTING PUTIH TANPA LUBANG DIA.50MMX50MM | PCS
108 | ELC458 | ALAT LISTRIK | BAUT KAP LAMPU TL (UKURAN MUR M4) | PCS